## Slide 1
Model
TabWidget with the following tabs:
- Inputs
- Output_fastpiezo
- Output_slowpiezo
- …
Sequences
Lockbox Control
See next slides for a description of the elements

## Slide 2
Model:
Laser wavelength
Cavity finesse
…
FPM
Notes: Maybe hidden

## Slide 3
Inputs:
Reflection (FPM)
Add input
Calibrate all
Input_signal
In1 / adc1
Calibrate
PDH (FPM)
Input_signal
IQ
Calibrate
freq
amplitude
Phase
Configuration
show all setup arguments
of PDH-IQ module here with defaults (let model provide a dict of module parameters, along with the possibility to hide parameters from gui by appending “_hidden” to the keyword, i.e. “output_signal_hidden”: “quadrature”
PDH (FPM)
Input_signal
IQ
Calibrate
freq
amplitude
Phase
Configuration
Mysignal (custom)
Input
Reflection
X delete
X delete
X delete
If no default parameters are defined, show all setup parameters of the module with the default values provided by the setup function. Alternatively, leave a text field to manually define all yaml parameters
Notes: Autoshow all calibration data.
Graph de signal + signal_slope

## Slide 4
Outputs
Manual design
Assisted design
Desired unity-gain frequency
Hz
Hz
Hz
P
I
Analog filter behind output
Hz
Hz
Additional filter
Hz
Hz
Hz
Hz
Open-loop transfer function
PI-corner
*unit*/*unit*
Hz
Hz
Amplitude (dB)
Phase (deg)
Extra-module:
State:
Fast piezo
Add output
Unit ???
DC-gain
*unit*/V
channel
LF-gain limit (need to think about implementation, too early still)
Sweep enable
Waveform
Amplitude
Offset
Frequency
You can easily guess the output DC-gain from piezo specifications, or the laser frequency tuning gain from the datasheet. Therefore its useful to provide these values for the output, such that the first locking attempts are in a reasonable parameter range
Measure with NA
Radio button to select one and gray out the other?
- None
- Analog_filter(see assisted design)
- Curve #
Notes: Additional filter + extramodule is a group on the far right
Assisted design + manual design in the middle

## Slide 5
Sequences:
Drift
Input
*relative_detuning*
Start offset
Outputs
duration
*Unit*
V
s
Add
Stage
Normal
Model function call:
Yaml kwds ???
Lock
Input
*relative_detuning*
Start offset
Outputs
duration
*Unit*
V
s
Normal
Model function call:
Yaml kwds ???
Go to
Go to
Lockbox Control:
Lock
Sweep slow piezo
Sweep fast piezo
Auto relock
Load
Save
What should happen if the outputs are not defined ? I suggest the most logical solution is to list all selected outputs, with an empty list disabling all outputs. However, for correct default functionality, i suggest to use the keyword ‘all’ instead of a list in the config file to select all outputs by default. Only if the user unselects, this will overwrite the list of outputs in the config file. we can drop that keyword thing if you find it too confusing.
Locked/unlocked *detuning
0.1*